## 2019
Large Lecture Halls and Class room zones | 2019 Summer Session 1 Schedule | Normal Schedule | 2019 Spring Schedule | System | HVAC AHU control zone | AHU Equipment | Schedule Control Zone | notes | Seating Capacity | Unloaded kWh (per hour) | AHU size
ARCH 205 | off | Mon 8:30 am - 1:30 pm Tue-Thu 8:30 am - 6:00 pm Wed-Fri 8:30 am - 2:30 pm Sat-Sun Off |  | ALC | SOA-1 | AHU-11 |  |  | 200
ART 101 | off - with events | 6:30am-10pm 7days a week |  |  |  | AHU2-9, 2-10 |  | Shared with art 132 for now Brent will discuss separating this control zone
ART 132 | off - with events | 6:30am-10pm 7days a week |  | JCI | ART-1 |  |  |  | 300
BIL 150 | 9am-1:15 M-F OFF S-S | 8:30 am - 5:00 pm M-W-F 8:30 am - 6:00 pm T-TH OFF S-S |  | JCI | BIL-1 | AHU B-3 |  |  | 176 | 13 | 20
BIL 152 | OFF M-S | 7:30 am - 5:30 pm M-W-F 8:00 am - 2:00 pm T-TH OFF S-S |  | JCI | BIL-2 | AHU B-1, B-2 |  |  | 363 | 22.5 | 35
BIL 335 | 9am-11:45am M-F OFF S-S | 8:30am-5pm M-T-W 8:30am-5:30pm TH 8am-5:30pm F OFF S-S |  | JCI | BIL-3 | AHU R-5 |  |  | 76
CR 105 | 9am-8:45pm M-W 9am-10:15am T-TH-F OFF S-S | 5am-9pm M 6-9pm T-W-TH-F OFF SS |  | ALC | CRA-1 | AHU-2 |  |  | 60
CR 115 | 5pm - 9pm M-F OFF SS | 5am-9pm M 6am-9pm T-W-TH-F OFF SS |  | ALC | CRA-2 | AHU-1 |  | Also serves RM 112,114 | 150
GAR 101 | 9:00am-8pm M-F | 6:00am-8pm M-F |  | JCI | GAR-1 | AHU1-1 | GAR 101-112 are all on same VAV schedule |  | 34
GAR 102 | 9:00am-8pm M-F | 6:00am-8pm M-F |  | JCI | GAR-1 | AHU1-1 | GAR 101-112 are all on same VAV schedule |  | 30
GAR 103 | 9:00am-8pm M-F | 6:00am-8pm M-F |  | JCI | GAR-1 | AHU1-1 | GAR 101-112 are all on same VAV schedule |  | 71
GAR 112 | 9:00am-8pm M-F | 6:00am-8pm M-F |  | JCI | GAR-2 | AHU 1-2 | GAR 101-112 are all on same VAV schedule | AHU Serves Offices AHU also serves Rm 104, 104A, 105 | 24
KUY 3rd floor (control wise 1 zone per floor) | 9am-12:10pm M-T-W-F 1:30pm-2:20pm TH OFF T-S-S | 6:00am-10pm M-F |  | ALC | KUY-1 | AHU-3 (FCU-5, 6, 7, 8, 9, 10, 23, 30, 31, 32, 37, 38) |  | Forgot if we are doing this
MOORE 111 | OFF* | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-2 | AHU 1-6 |  | Perry Confusions follow up | 25
MOORE 112 | OFF* - W/events | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-2 | AHU 1-6 |  | Perry Confusions follow up | 35
MOORE 117 | OFF* - 6pm-9pm - W | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-3 | AHU 1-5 |  | Perry Confusions follow up | 30
MOORE 119 | OFF* | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-3 | AHU 1-5 |  | Perry Confusions follow up | 35
MOORE 120 | OFF* | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-3 | AHU 1-5 |  | Perry Confusions follow up | 25
MOORE 152 |  | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC |  |  |  |  | 15
MOORE 202 |  | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-5 | AHU 2-9 |  | includes office 201 | 20
MOORE 203 |  | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-5 | AHU 2-9 |  |  | 15
MOORE 204 |  | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-5 | AHU 2-9 |  |  | 15
MOORE 206 |  | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-6 | AHU 2-10 |  | include 205 | 15
MOORE 207 |  | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-6 | AHU 2-10 |  | includes office 208-212 | 20
MOORE 224 | OFF | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-4 | AHU 2-8 |  |  | 15
MOORE 225 | OFF | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-5 | AHU 2-8
MOORE 226 | OFF | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-4 | AHU 2-8 |  |  | 15
MOORE 227 | OFF | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-4 | AHU 2-8 |  |  | 20
MOORE 228 | OFF | 6:00 am – 10:00 pm M-F 8-5 Sat OFF Sun |  | ALC | MOR-4 | AHU 2-8 |  |  | 25
MSB - 100 | 9:30-12 M-F OFF SS | 7:30am-6pm M-W 7am-5pm T-TH 7:30am-3pm F OFF SS |  | ALC | MSB-1 | AHU M-1 |  |  | 57
MSB - 114 | OFF | 6:30am-4:30pm M, F 7am-4:30pm T-TH 6:30am-5pm W OFF SS |  | alc | MSB-2 | AHU M-2 |  |  | 84
SAKAM A101 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-1 | AHU-1A |  | SAKM 1st floor All on one control zone | 24
SAKAM A102 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-1 | AHU-1A |  | SAKM 1st floor All on one control zone | 24
SAKAM A103 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-1 | AHU-1A |  | SAKM 1st floor All on one control zone | 28
SAKAM A104 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-1 | AHU-1A |  | SAKM 1st floor All on one control zone | 24
SAKAM B101 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-2 | AHU-1B |  | SAKM 1st floor All on one control zone | 26
SAKAM B102 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-2 | AHU-1B |  | SAKM 1st floor All on one control zone | 28
SAKAM B103 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-2 | AHU-1B |  | SAKM 1st floor All on one control zone | 24
SAKAM B104 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-2 | AHU-1B |  | SAKM 1st floor All on one control zone | 24
SAKAM C101 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-3 | AHU-1C |  | SAKM 1st floor All on one control zone | 26
SAKAM C102 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-3 | AHU-1C |  | SAKM 1st floor All on one control zone | 25
SAKAM C103 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-3 | AHU-1C |  | SAKM 1st floor All on one control zone | 27
SAKAM C104 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-3 | AHU-1C |  | SAKM 1st floor All on one control zone | 20
SAKAM D101 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-4 | AHU-1D |  | SAKM 1st floor All on one control zone | 38
SAKAM D102 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-4 | AHU-1D |  | SAKM 1st floor All on one control zone | 20
SAKAM D103 | 8am-430pm M-F | 6:00am-9pm M-F |  | JCI | SAK-4 | AHU-1D |  | SAKM 1st floor All on one control zone | 27
SPAL 155 | OFF | 8:00-3:00 M-F |  | ALC | SPA-1 | AHU-1 |  |  | 385
WEB 101 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-1 | AHU-1A |  | is a class center of excelence
WEB 102 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-1 | AHU-1A |  | forgot if we were going to leave webster alone | 32
WEB 103 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-1 | AHU-1A |  | forgot if we were going to leave webster alone | 49
WEB 104 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-1 | AHU-1A |  | forgot if we were going to leave webster alone | 49
WEB 112 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-2 | AHU-1B |  | forgot if we were going to leave webster alone | 40
WEB 113 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-2 | AHU-1B |  | forgot if we were going to leave webster alone | 48
WEB 114 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-2 | AHU-1B |  | forgot if we were going to leave webster alone | 34
WEB 115 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-2 | AHU-1B |  | forgot if we were going to leave webster alone | 35
WEB 116 | 8am - 1:30 pm | 6:00-10pm M-F |  | JCI | WEB-2 | AHU-1B |  | forgot if we were going to leave webster alone | 25
HIG 110 | OFF | Mon-Wed 8:30 am - 4:30 pm Tue-Thu 8:00 am - 3:00 pm Fri 9:00 am - 2:30 pm Sat-Sun Off | [6 empty] | 112
PHYSCI 217 | 07:30 AM-11:45 AM | Mon-Wed-Fri 7:30 am - 4:00pm Tue-Thu 8:00 am - 6:00 pm Sat-Sun Off | [6 empty] | 211
[7 empty] | Total = |  | 3355

## Sheet1
BLDG | 2019-05-20 | 2019-05-21 | 2019-05-22 | 2019-05-23 | 2019-05-24 | 2019-05-25 | 2019-05-26 | 2019-05-27 | 2019-05-28 | 2019-05-29 | 2019-05-30 | 2019-05-31 | 2019-06-01 | 2019-06-02 | 2019-06-03 | 2019-06-04 | 2019-06-05 | 2019-06-06 | 2019-06-07 | 2019-06-08 | 2019-06-09 | 2019-06-10 | 2019-06-11 | 2019-06-12 | 2019-06-13 | 2019-06-14 | 2019-06-15 | 2019-06-16 | 2019-06-17 | 2019-06-18 | 2019-06-19 | 2019-06-20 | 2019-06-21 | 2019-06-22 | 2019-06-23 | 2019-06-24 | 2019-06-25 | 2019-06-26 | 2019-06-27 | 2019-06-28
ARCH 205
ART 101 | 2019-06-06: 07:45 AM-09:30 PM; 2019-06-07: 07:45 AM-09:30 PM; 2019-06-27: 07:45 AM-09:30 PM; 2019-06-28: 07:45 AM-09:30 PM
ART 132 | 2019-06-06: 07:45 AM-09:30 PM; 2019-06-07: 07:45 AM-09:30 PM; 2019-06-13: 04:30 PM-08:30 PM; 2019-06-15: 09:30 AM-12:30 PM; 2019-06-27: 07:45 AM-09:30 PM; 2019-06-28: 07:45 AM-09:30 PM
ART 137 | bar: 2019-06-01
BIL 150 | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM |  |  | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM |  |  | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM |  |  | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM |  |  | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM |  |  | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM | 09:00 AM-01:15 PM
BIL 152
BIL 335 | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM
CR 105 | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-10:15 AM |  |  | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM |  |  | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-10:15 AM |  |  | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-10:15 AM |  |  | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-10:15 AM |  |  | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-08:45 PM | 09:00 AM-10:15 AM | 09:00 AM-10:15 AM
CR 115 | 2019-05-20: 06:00 PM-08:30 PM; 2019-05-24: 06:00 PM-08:30 PM; 2019-05-27: 06:00 PM-08:30 PM; 2019-05-28: 09:00 AM-12:00 PM; 2019-05-29: 09:00 AM-12:00 PM; 2019-05-30: 09:00 AM-12:00 PM; 2019-05-31: 09:00 AM-08:30 PM; 2019-06-03: 09:00 AM-08:30 PM; 2019-06-04: 09:00 AM-12:00 PM; 2019-06-05: 09:00 AM-12:00 PM; 2019-06-06: 09:00 AM-12:00 PM; 2019-06-07: 09:00 AM-08:30 PM; 2019-06-10: 09:00 AM-08:30 PM; 2019-06-11: 09:00 AM-12:00 PM; 2019-06-12: 09:00 AM-12:00 PM; 2019-06-13: 09:00 AM-12:00 PM; 2019-06-14: 09:00 AM-08:30 PM; 2019-06-17: 06:00 PM-08:30 PM; 2019-06-21: 06:00 PM-08:30 PM; 2019-06-24: 06:00 PM-08:30 PM; 2019-06-28: 06:00 PM-08:30 PM
GAR 101 | 2019-06-12: 09:00 AM-12:00 PM; 2019-06-13: 09:00 AM-12:00 PM; 2019-06-14: 09:00 AM-12:00 PM; 2019-06-17: 09:00 AM-12:00 PM; 2019-06-18: 09:00 AM-12:00 PM; 2019-06-19: 09:00 AM-12:00 PM; 2019-06-20: 09:00 AM-12:00 PM; 2019-06-21: 09:00 AM-12:00 PM; 2019-06-24: 09:00 AM-12:00 PM; 2019-06-25: 09:00 AM-12:00 PM; 2019-06-26: 09:00 AM-12:00 PM; 2019-06-27: 09:00 AM-12:00 PM; 2019-06-28: 09:00 AM-12:00 PM
GAR 102 | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-04:00 PM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-04:00 PM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-04:00 PM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM
GAR 103 | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM |  |  | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM |  |  | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM |  |  | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM |  |  | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM |  |  | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM | 08:30 AM-04:30 PM
GAR 112 | 01:00 PM-03:15 PM |  | 01:00 PM-03:15 PM |  | 01:00 PM-03:15 PM |  |  | 01:00 PM-03:15 PM |  | 01:00 PM-03:15 PM |  | 01:00 PM-03:15 PM |  |  | 09:15 AM-03:15 PM | 09:15 AM-11:45 AM | 09:15 AM-03:15 PM | 09:15 AM-11:45 AM | 09:15 AM-03:15 PM |  |  | 09:15 AM-03:15 PM | 09:15 AM-11:45 AM | 09:15 AM-03:15 PM | 09:15 AM-11:45 AM | 09:15 AM-03:15 PM |  |  | 09:15 AM-03:15 PM | 09:15 AM-11:45 AM | 09:15 AM-03:15 PM | 09:15 AM-11:45 AM | 09:15 AM-03:15 PM |  |  | 09:15 AM-03:15 PM |  | 01:00 PM-03:15 PM |  | 01:00 PM-03:15 PM
GRG 213 | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM |  |  |  | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM |  |  |  | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM |  |  |  | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM |  |  |  | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM |  |  |  | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM | 09:00 AM-12:30 PM | 09:00 AM-04:30 PM
GRG 214 | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-11:45 AM |  |  | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-11:45 AM |  |  | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-11:45 AM |  |  | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-11:45 AM |  |  | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-11:45 AM |  |  | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-02:15 PM | 09:00 AM-11:45 AM
GRG 215 | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM |  |  |  | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM |  |  |  | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM |  |  |  | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM |  |  |  | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM |  |  |  | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM | 10:00 AM-11:45 AM | 10:00 AM-04:00 PM
GRG 227 | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-09:45 PM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM
KUY 301
KUY 302 | 2019-05-23: 01:30 PM-02:20 PM; 2019-05-30: 01:30 PM-02:20 PM; 2019-06-03: 09:00 AM-11:50 AM; 2019-06-05: 09:00 AM-11:50 AM; 2019-06-06: 01:30 PM-02:20 PM; 2019-06-07: 09:00 AM-11:50 AM; 2019-06-10: 09:00 AM-11:50 AM; 2019-06-12: 09:00 AM-11:50 AM; 2019-06-13: 01:30 PM-02:20 PM; 2019-06-14: 09:00 AM-11:50 AM; 2019-06-17: 09:00 AM-11:50 AM; 2019-06-19: 09:00 AM-11:50 AM; 2019-06-20: 01:30 PM-02:20 PM; 2019-06-21: 09:00 AM-11:50 AM; 2019-06-24: 09:00 AM-11:50 AM; 2019-06-26: 09:00 AM-11:50 AM; 2019-06-27: 01:30 PM-02:20 PM; 2019-06-28: 09:00 AM-11:50 AM
KUY 303 | 2019-05-23: 01:30 PM-02:20 PM; 2019-05-30: 01:30 PM-02:20 PM; 2019-06-03: 09:00 AM-11:50 AM; 2019-06-05: 09:00 AM-11:50 AM; 2019-06-06: 01:30 PM-02:20 PM; 2019-06-07: 09:00 AM-11:50 AM; 2019-06-10: 09:00 AM-11:50 AM; 2019-06-12: 09:00 AM-11:50 AM; 2019-06-13: 01:30 PM-02:20 PM; 2019-06-14: 09:00 AM-11:50 AM; 2019-06-17: 09:00 AM-11:50 AM; 2019-06-19: 09:00 AM-11:50 AM; 2019-06-20: 01:30 PM-02:20 PM; 2019-06-21: 09:00 AM-11:50 AM; 2019-06-24: 09:00 AM-11:50 AM; 2019-06-26: 09:00 AM-11:50 AM; 2019-06-27: 01:30 PM-02:20 PM; 2019-06-28: 09:00 AM-11:50 AM
KUY 304 | 2019-06-03: 08:30 AM-01:20 PM; 2019-06-04: 08:30 AM-10:20 AM; 2019-06-05: 08:30 AM-01:20 PM; 2019-06-06: 08:30 AM-11:50 AM; 2019-06-07: 08:30 AM-01:20 PM; 2019-06-10: 08:30 AM-01:20 PM; 2019-06-11: 08:30 AM-10:20 AM; 2019-06-12: 08:30 AM-01:20 PM; 2019-06-13: 08:30 AM-11:50 AM; 2019-06-14: 08:30 AM-01:20 PM; 2019-06-17: 08:30 AM-01:20 PM; 2019-06-18: 08:30 AM-10:20 AM; 2019-06-19: 08:30 AM-01:20 PM; 2019-06-20: 08:30 AM-11:50 AM; 2019-06-21: 08:30 AM-01:20 PM; 2019-06-24: 08:30 AM-01:20 PM; 2019-06-25: 08:30 AM-10:20 AM; 2019-06-26: 08:30 AM-01:20 PM; 2019-06-27: 08:30 AM-11:50 AM; 2019-06-28: 08:30 AM-01:20 PM
KUY 305 | 2019-06-03: 09:00 AM-01:20 PM; 2019-06-05: 09:00 AM-01:20 PM; 2019-06-07: 09:00 AM-01:20 PM; 2019-06-10: 09:00 AM-01:20 PM; 2019-06-12: 09:00 AM-01:20 PM; 2019-06-14: 09:00 AM-01:20 PM; 2019-06-17: 09:00 AM-01:20 PM; 2019-06-19: 09:00 AM-01:20 PM; 2019-06-21: 09:00 AM-01:20 PM; 2019-06-24: 09:00 AM-01:20 PM; 2019-06-26: 09:00 AM-01:20 PM; 2019-06-28: 09:00 AM-01:20 PM
KUY 306
KUY 307
KUY 308 | 2019-06-03: 10:30 AM-11:35 AM; 2019-06-04: 10:30 AM-11:35 AM; 2019-06-05: 10:30 AM-11:35 AM; 2019-06-06: 10:30 AM-11:35 AM; 2019-06-07: 10:30 AM-11:35 AM; 2019-06-10: 10:30 AM-11:35 AM; 2019-06-11: 10:30 AM-11:35 AM; 2019-06-12: 10:30 AM-11:35 AM; 2019-06-13: 10:30 AM-11:35 AM; 2019-06-14: 10:30 AM-11:35 AM; 2019-06-17: 08:00 AM-11:35 AM; 2019-06-18: 08:00 AM-11:35 AM; 2019-06-19: 08:00 AM-11:35 AM; 2019-06-20: 08:00 AM-11:35 AM; 2019-06-21: 08:00 AM-11:35 AM; 2019-06-24: 08:00 AM-11:35 AM; 2019-06-25: 08:00 AM-11:35 AM; 2019-06-26: 08:00 AM-11:35 AM; 2019-06-27: 08:00 AM-11:35 AM; 2019-06-28: 08:00 AM-11:35 AM
KUY 309 | 2019-06-03: 09:00 AM-11:50 AM; 2019-06-05: 09:00 AM-11:50 AM; 2019-06-06: 10:30 AM-11:50 AM; 2019-06-07: 09:00 AM-11:50 AM; 2019-06-10: 09:00 AM-11:50 AM; 2019-06-12: 09:00 AM-11:50 AM; 2019-06-13: 10:30 AM-11:50 AM; 2019-06-14: 09:00 AM-11:50 AM; 2019-06-17: 09:00 AM-11:50 AM; 2019-06-19: 09:00 AM-11:50 AM; 2019-06-20: 10:30 AM-11:50 AM; 2019-06-21: 09:00 AM-11:50 AM; 2019-06-24: 09:00 AM-11:50 AM; 2019-06-26: 09:00 AM-11:50 AM; 2019-06-27: 10:30 AM-11:50 AM; 2019-06-28: 09:00 AM-11:50 AM
KUY 310
KUY 313 | 2019-05-20: 09:00 AM-12:10 PM; 2019-05-22: 09:00 AM-12:10 PM; 2019-05-24: 09:00 AM-12:10 PM; 2019-05-27: 09:00 AM-12:10 PM; 2019-05-29: 09:00 AM-12:10 PM; 2019-05-31: 09:00 AM-12:10 PM; 2019-06-03: 09:00 AM-12:10 PM; 2019-06-05: 09:00 AM-12:10 PM; 2019-06-07: 09:00 AM-12:10 PM; 2019-06-10: 09:00 AM-12:10 PM; 2019-06-12: 09:00 AM-12:10 PM; 2019-06-14: 09:00 AM-12:10 PM; 2019-06-17: 09:00 AM-12:10 PM; 2019-06-19: 09:00 AM-12:10 PM; 2019-06-21: 09:00 AM-12:10 PM; 2019-06-24: 09:00 AM-12:10 PM; 2019-06-26: 09:00 AM-12:10 PM; 2019-06-28: 09:00 AM-12:10 PM
MOORE 102
MOORE 103
MOORE 111 | 2019-05-25: 09:00 AM-04:30 PM
MOORE 112 | 2019-05-22: 06:00 PM-09:00 PM; 2019-05-25: 09:00 AM-04:30 PM; 2019-05-29: 06:00 PM-09:00 PM; 2019-06-05: 05:00 PM-09:00 PM; 2019-06-12: 05:00 PM-09:00 PM; 2019-06-19: 05:00 PM-09:00 PM
MOORE 117 | 2019-05-25: 09:00 AM-04:30 PM
MOORE 119 | 2019-05-25: 09:00 AM-04:30 PM
MOORE 120
MOORE 152
MOORE 202
MOORE 203
MOORE 204
MOORE 206
MOORE 207
MOORE 224
MOORE 226
MOORE 227
MOORE 228
MOORE 253
MSB 100 | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM |  |  | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM | 10:30 AM-11:45 AM
MSB 114 | 2019-06-07: 02:15 PM-05:30 PM
SAKAM A101 | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM |  |  | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM | 09:00 AM-03:30 PM
SAKAM A102 | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM |  |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM
SAKAM A103 | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 08:00 AM-01:30 PM |  | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 08:00 AM-01:30 PM |  | 09:00 AM-04:00 PM | 09:00 AM-11:45 AM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 08:00 AM-01:30 PM |  | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 08:00 AM-01:30 PM |  | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM | 09:00 AM-04:00 PM
SAKAM A104 | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM |  |  | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM | 08:00 AM-11:45 AM
SAKAM B101 | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 08:00 AM-01:00 PM |  | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM | 09:00 AM-12:30 PM
SAKAM B102 | 2019-05-25: 08:00 AM-01:00 PM; 2019-06-01: 08:00 AM-01:30 PM; 2019-06-08: 08:00 AM-01:30 PM; 2019-06-15: 08:00 AM-01:30 PM; 2019-06-22: 08:00 AM-01:30 PM
SAKAM B103 | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM
SAKAM B104 | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM |  |  | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM | 09:00 AM-11:40 AM
SAKAM C101 | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM |  |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-01:30 PM |  | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM | 08:00 AM-12:30 PM
SAKAM C102 | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 08:00 AM-01:30 PM |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM
SAKAM C103 | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM |  |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:30 PM |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:30 PM |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:30 PM |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:30 PM |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM
SAKAM C104 | 2019-05-20: 8-12:30
SPAL 155
WEB 102 | 2019-05-20: 09:00 AM-12:20 PM; 2019-05-22: 09:00 AM-12:20 PM; 2019-05-24: 09:00 AM-12:20 PM; 2019-05-27: 09:00 AM-12:20 PM; 2019-05-29: 09:00 AM-12:20 PM; 2019-05-31: 09:00 AM-12:20 PM; 2019-06-03: 09:00 AM-12:20 PM; 2019-06-05: 09:00 AM-12:20 PM; 2019-06-07: 09:00 AM-12:20 PM; 2019-06-10: 09:00 AM-12:20 PM; 2019-06-12: 09:00 AM-12:20 PM; 2019-06-14: 09:00 AM-12:20 PM; 2019-06-17: 09:00 AM-12:20 PM; 2019-06-19: 09:00 AM-12:20 PM; 2019-06-21: 09:00 AM-12:20 PM; 2019-06-24: 09:00 AM-12:20 PM; 2019-06-26: 09:00 AM-12:20 PM; 2019-06-28: 09:00 AM-12:20 PM
WEB 103 | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM |  |  |  | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM |  |  |  | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM |  |  |  | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM |  |  |  | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM |  |  |  | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM | 09:00 AM-10:50 AM
WEB 104 | 2019-06-03: 08:00 AM-04:00 PM; 2019-06-04: 08:00 AM-04:00 PM; 2019-06-05: 08:00 AM-04:00 PM; 2019-06-06: 08:00 AM-04:00 PM; 2019-06-07: 08:00 AM-04:00 PM; 2019-06-10: 08:00 AM-04:00 PM; 2019-06-11: 08:00 AM-04:00 PM; 2019-06-12: 08:00 AM-04:00 PM; 2019-06-13: 08:00 AM-04:00 PM; 2019-06-14: 08:00 AM-04:00 PM; 2019-06-17: 10:00 AM-11:20 AM; 2019-06-18: 10:00 AM-11:20 AM; 2019-06-19: 10:00 AM-11:20 AM; 2019-06-20: 10:00 AM-11:20 AM; 2019-06-21: 10:00 AM-11:20 AM; 2019-06-22: 07:30 AM-05:00 PM; 2019-06-24: 10:00 AM-11:20 AM; 2019-06-25: 10:00 AM-11:20 AM; 2019-06-26: 10:00 AM-11:20 AM; 2019-06-27: 10:00 AM-11:20 AM; 2019-06-28: 10:00 AM-11:20 AM
WEB 112 | 2019-06-10: 09:00 AM-11:45 AM; 2019-06-11: 09:00 AM-11:45 AM; 2019-06-12: 09:00 AM-11:45 AM; 2019-06-13: 09:00 AM-11:45 AM; 2019-06-14: 09:00 AM-11:45 AM; 2019-06-17: 09:00 AM-11:45 AM; 2019-06-18: 09:00 AM-11:45 AM; 2019-06-19: 09:00 AM-11:45 AM; 2019-06-20: 09:00 AM-11:45 AM; 2019-06-21: 09:00 AM-11:45 AM; 2019-06-24: 09:00 AM-11:45 AM; 2019-06-25: 09:00 AM-11:45 AM; 2019-06-26: 09:00 AM-11:45 AM; 2019-06-27: 09:00 AM-11:45 AM; 2019-06-28: 09:00 AM-11:45 AM
WEB 113 | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM |  |  | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM | 09:00 AM-11:45 AM
WEB 114 | 2019-05-20: 09:00 AM-12:20 PM; 2019-05-22: 09:00 AM-12:20 PM; 2019-05-24: 09:00 AM-12:20 PM; 2019-05-27: 09:00 AM-12:20 PM; 2019-05-29: 09:00 AM-12:20 PM; 2019-05-31: 09:00 AM-12:20 PM; 2019-06-03: 09:00 AM-12:20 PM; 2019-06-05: 09:00 AM-12:20 PM; 2019-06-07: 09:00 AM-12:20 PM; 2019-06-10: 09:00 AM-12:20 PM; 2019-06-12: 09:00 AM-12:20 PM; 2019-06-14: 09:00 AM-12:20 PM; 2019-06-17: 09:00 AM-12:20 PM; 2019-06-19: 09:00 AM-12:20 PM; 2019-06-21: 09:00 AM-12:20 PM; 2019-06-24: 09:00 AM-12:20 PM; 2019-06-26: 09:00 AM-12:20 PM; 2019-06-28: 09:00 AM-12:20 PM
WEB 115 | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM |  |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM |  |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM |  |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM |  |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM |  |  | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM | 08:00 AM-01:15 PM
WEB 116 | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM |  |  | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM |  |  | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM |  |  | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM |  |  | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM |  |  | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM | 09:30 AM-11:45 AM